## Instructions
Building & Life-Safety Compliance Matrix – Instructions
Purpose:
This workbook provides a structured way to record compliance with all major UK fire and life-safety regulations applicable in 2025–26.
Two example buildings have been partially defined to illustrate how the Compliance Matrix may be used.
How to Use:
1. Go to the ‘Input’ tab. Input into each green shaded cell under 'building name' the name of the building. Each row represents a regulation applied to each building.
2. Fill in the columns for ‘Applies to this Building?’, ‘Specific Duty / Obligation’, and other fields.
3. Use the dropdown menus for:
- Applies to this Building? → Yes / No
- Status → Compliant / Partial / Gap / Inapplicable
- Compliance Risk → High / Medium / Low
If a regulation as defined as inapplicable and then a compliance status or risk factor is applied to it, an error message will be flagged on the summary sheet
4. The Summary sheet automatically calculates compliance totals and percentages.
5. Conditional formatting provides visual cues:
- Green = compliant / low risk
- Amber = partial / moderate risk
- Red = gap / high risk
6. Do not edit the Summary sheet – it updates automatically.
7. The Input sheet is protected to prevent accidental changes. Password below.
Meaning of Key Columns:
- Specific Duty / Obligation: Describe the regulation’s practical requirement for your building.
- Evidence Required: Specify supporting documents (risk assessments, certificates, maintenance logs, etc.).
- Assigned Responsibility: Name or department accountable for compliance.
- Next Action / Due Date: Define follow-up steps and schedule checks.
Further Guidance:
Refer to official GOV.UK and ProtectUK websites for current statutory guidance:
- gov.uk/workplace-fire-safety-your-responsibilities
- gov.uk/guidance/building-safety-act
- protectuk.police.uk/martyns-law
- gov.uk/government/publications/fire-safety-england-regulations-2022
Version: 1.1
Password to unlock any elements of sheet security = password

## Definitions
Building & Life-Safety Compliance Matrix – Definitions
Compliance Status Key |  |  | Example – Calculating Overall Compliance Status %
Status | Meaning | Priority | Building | Compliant | Partial | Gap | Total | Compliance %
No Controls | No controls in place. Building has yet to be specified or has no need for controls. | None | Central House | 6 | 2 | 1 | 9 | 67 %
Compliant | All measures in place, documented, and verified. | Low apart from routine review | Formula: =Compliant ÷ Total ( = B2 / E2 ) Interpretation: A Compliance % of 67 % means two‑thirds of required actions are fully compliant; the rest are in progress or missing.
Partial | Some requirements met; work or evidence still outstanding. | Medium
Gap | Requirement not yet met. | High – immediate action required
Compliance Risk Key |  |  | Example – Calculating Overall Compliance Risk
Risk Level | Meaning |  | Building | Low | Medium | High
No Controls | No controls in place. Building has yet to be specified or has no need for controls. |  | Central House | 6 | 2 | 1
Low | Fully compliant, verified evidence maintained. |  | A Compliance Risk of 1 means that one building has one major non‑compliance or safety exposure with significant obstacles or delays to achieving compliance.
Medium | Some shortfalls or limited documentation – action planned.
High | Major non‑compliance or safety exposure with significant obstacles or delays to achieving compliance.

## Input
Building & Life-Safety Compliance Matrix – Input
Building Name | Regulation | Applies to this Building? (Yes/No) | Specific Duty / Obligation | Evidence Required (Docs, Records, Certificates) | Compliance Status | Assigned Responsibility | Next Action | Due Date | Compliance Risk
Willow Residential | Regulatory Reform (Fire Safety) Order 2005 | Yes |  |  | Compliant |  |  |  | Low
Willow Residential | Fire Safety (England) Regulations 2022 | Yes |  |  | Partial |  |  |  | Medium
Willow Residential | Building Safety Act 2022 – In‑Occupation Regime | Yes |  |  | Gap |  |  |  | Medium
Willow Residential | Approved Document B (Fire Safety) – 2025 Update | Yes |  |  | Compliant |  |  |  | Low
Willow Residential | Second Staircases in New Tall Residential Buildings | No |  |  | Inapplicable |  |  |  | Inapplicable
Willow Residential | Sprinklers in New Care Homes | Yes |  |  | Gap |  |  |  | High
Willow Residential | Fire‑Testing Standards Transition (BS 476 → BS EN 13501) | No |  |  | Inapplicable |  |  |  | Inapplicable
Willow Residential | Fire Safety (Residential Evacuation Plans) (England) Regulations 2025 | Yes |  |  | Compliant |  |  |  | Low
Willow Residential | Terrorism (Protection of Premises) Act 2025 – Martyn’s Law | No |  |  | Inapplicable |  |  |  | Inapplicable
Central Towers | Regulatory Reform (Fire Safety) Order 2005 | Yes |  |  | Compliant |  |  |  | Low
Central Towers | Fire Safety (England) Regulations 2022 | Yes |  |  | Compliant |  |  |  | Low
Central Towers | Building Safety Act 2022 – In‑Occupation Regime | Yes |  |  | Compliant |  |  |  | Low
Central Towers | Approved Document B (Fire Safety) – 2025 Update | Yes |  |  | Compliant |  |  |  | Low
Central Towers | Second Staircases in New Tall Residential Buildings | Yes |  |  | Compliant |  |  |  | Inapplicable
Central Towers | Sprinklers in New Care Homes | No |  |  | Inapplicable |  |  |  | Inapplicable
Central Towers | Fire‑Testing Standards Transition (BS 476 → BS EN 13501) | Yes |  |  | Compliant |  |  |  | Medium
Central Towers | Fire Safety (Residential Evacuation Plans) (England) Regulations 2025 | No |  |  | Inapplicable |  |  |  | Inapplicable
Central Towers | Terrorism (Protection of Premises) Act 2025 – Martyn’s Law | No |  |  | Inapplicable |  |  |  | Inapplicable
Regulatory Reform (Fire Safety) Order 2005
Fire Safety (England) Regulations 2022
Building Safety Act 2022 – In‑Occupation Regime
Approved Document B (Fire Safety) – 2025 Update
Second Staircases in New Tall Residential Buildings
Sprinklers in New Care Homes
Fire‑Testing Standards Transition (BS 476 → BS EN 13501)
Fire Safety (Residential Evacuation Plans) (England) Regulations 2025
Terrorism (Protection of Premises) Act 2025 – Martyn’s Law
Regulatory Reform (Fire Safety) Order 2005
Fire Safety (England) Regulations 2022
Building Safety Act 2022 – In‑Occupation Regime
Approved Document B (Fire Safety) – 2025 Update
Second Staircases in New Tall Residential Buildings
Sprinklers in New Care Homes
Fire‑Testing Standards Transition (BS 476 → BS EN 13501)
Fire Safety (Residential Evacuation Plans) (England) Regulations 2025
Terrorism (Protection of Premises) Act 2025 – Martyn’s Law
Regulatory Reform (Fire Safety) Order 2005
Fire Safety (England) Regulations 2022
Building Safety Act 2022 – In‑Occupation Regime
Approved Document B (Fire Safety) – 2025 Update
Second Staircases in New Tall Residential Buildings
Sprinklers in New Care Homes
Fire‑Testing Standards Transition (BS 476 → BS EN 13501)
Fire Safety (Residential Evacuation Plans) (England) Regulations 2025
Terrorism (Protection of Premises) Act 2025 – Martyn’s Law

## Summary
Building & Life-Safety Compliance Matrix – Compliance Summary
Overall Compliance Status | [5 empty] | Overall Compliance Risk
Building Name | Compliant | Partial | Gap | Applicable Regs | Overall Compliance % | Low | Medium | High
Willow Residential | 3 | 1 | 2 | 6 | 50% | 3 | 2 | 1
Central Towers | 6 | 0 | 0 | 6 | 100% | 4 | 1 | 0
| 0 | 0 | 0 | 0 |  | 0 | 0 | 0
| 0 | 0 | 0 | 0 |  | 0 | 0 | 0
| 0 | 0 | 0 | 0 |  | 0 | 0 | 0

## Compliance Dashboard Charts
Building & Life-Safety Compliance Matrix – Compliance Charts